## Electricity_Rates
Data Center OPEX Model - Electricity Rates (Commercial Sector)
Source: U.S. EIA Electric Power Monthly (Table 5.6.A), March 2026 data. Rates in cents per kWh.
City | State | County | Commercial Rate (¢/kWh) | Data Period | Source | Notes
Phoenix | Arizona | Maricopa | 11.97 | March 2026 | EIA EPM | Average commercial rate. Large loads may negotiate better rates or face demand charges.
Houston | Texas | Harris | 8.69 | March 2026 | EIA EPM | Competitive ERCOT market; often favorable for large users.
Atlanta | Georgia | Fulton | 11.57 | March 2026 | EIA EPM | Average commercial rate. Check Georgia Power specific tariffs for data centers.

## PUE_Cooling_Benchmarks
Data Center OPEX Model - PUE and Cooling Benchmarks
Source: Uptime Institute Global Data Center Survey 2025 (weighted average). Industry standards for reference.
Metric | Value | Unit / Format | Source / Year | Notes
Industry Weighted Average PUE | 154% | PUE (unitless) | Uptime Institute 2025 Survey | Stable for 6+ years. Newer/larger facilities trend lower (~1.3-1.47 capacity-weighted).
Typical Efficient / Good Practice PUE Range | 1.3 - 1.6 | PUE range | Industry standard / Uptime reports | Hyperscalers and new builds often target <1.4 with optimizations. Legacy facilities higher.
Cooling Share of Total Facility Energy (typical) | 35% | 35% (fraction) | Common industry benchmark | Varies by climate and design. Higher in hot/humid locations without economization or liquid cooling. Rule-of-thumb for air-cooled DCs.
Cooling Energy Sensitivity to Ambient Temp | Increases with higher temps | Qualitative | Engineering principles | Higher ambient T raises chiller lift, reduces economizer hours, increases peak loads. Use CDD or wet-bulb projections for quantitative adjustment.

## Temperature_Data
Data Center OPEX Model - Temperature Baselines & Projections (for Cooling Adjustment)
PRIMARY RECOMMENDED SOURCE: NOAA Climate Explorer (https://crt-climate-explorer.nemac.org/) — Select exact county and view Temperature graphs for historical + RCP 4.5 (Lower Emissions) / RCP 8.5 (Higher Emissions) projections. The values below are approximates compiled from published reports for quick reference only. Always verify with the interactive tool for precise ensemble means/ranges and cooling degree days if needed.
City | County | State | Baseline Annual Avg Temp (°F) | Baseline Period | RCP 4.5 ~2030 Increase (°F) | RCP 4.5 ~2050 Increase (°F) | RCP 4.5 Late ~2100 Increase (°F) | RCP 8.5 ~2030 Increase (°F) | RCP 8.5 ~2050 Increase (°F) | RCP 8.5 Late ~2100 Increase (°F) | Key Notes / Source
Phoenix | Maricopa | AZ | 75.14 | 1986-2005 | 2.5 - 4.5 | 3 - 5+ | Use Explorer | 3 - 5 | 4 - 6+ | Use Explorer | TNC Economic Assessment of Heat in Phoenix Metro (mean of 10 GCMs). Extreme heat days (>110°F) rise sharply — more relevant for peak cooling than annual mean. Confirm exact in Explorer.
Houston | Harris | TX | ~70-72 (typical) | Recent climate normals | 2 - 3 | 2.5 - 4 | 3 - 4 | 3 - 4 | 4 - 5+ | 6 - 7 | City of Houston Climate Impact Assessment 2020 (Gulf Coast / Houston region). Recent Harris Co. studies show larger max temp rises under high emissions. Use Explorer for precise annual avg.
Atlanta | Fulton | GA | ~62-65 (typical) | Recent climate normals | ~2 - 4 (daily max +~4) | Use Explorer | Use Explorer | Use Explorer | Use Explorer | Use Explorer | Limited specific annual mean projections in quick reports. Hot days (>95°F) increase significantly. Pull exact annual average temperature time series from NOAA Climate Explorer for Fulton County.